## PCB list
№ | Group | MODEL NAME SUPPLIER | PCB BOX CODE ASSEMBLY (Note: bold red font means that this information is repeated ) | PCB CODE (Note: bold red font means that this information is repeated ) | SAP code | Konditsioner Model
1A | A1 | 09LP | 13222002002229 W(R07LA*4*1030*5) Q EE 3x1,0 L1,5m | 13222009004330 R07FA*4*NQ* W (C03) | TESTSAPCODE105
1B | A1 | 09LP |  | 13222009004289 R | TESTSAPCODE106
2A | A2 | 12LP | W(R12LK*4*1130*5) Q EE |  | TESTSAPCODE107
2B | A2 | 12LP |  | 13222009004368 | TESTSAPCODE108
3A | A3 | 18LP |  | 13222009005313 | TESTSAPCODE109
4A | A4 | 24LP | 13222002003782 W(R24LA*4*1080*6) QF EE 3x2,5 L1,5m | 13222009005318 R70F*4*NQF*1080 W (C01) | TESTSAPCODE110
4B | A4 | 24LP |  | 13222009004374 | TESTSAPCODE111
5A | A5 | 12LPDI-IDU | 13222002003729 W(R09LVAC*4*4) *QTBP 3x1,5 L1,5m | 13222009005295 R09LVAC*BP4*NQT W (C01) | TESTSAPCODE112
5B | A5 | 12LPDI-IDU |  | 13222009005232 | TESTSAPCODE113
6A | A6 | 12LPDI-ODU |  | 11222009002488 | TESTSAPCODE114
7A | A7 | 18LPDI-IDU |  | 13222009005313 | TESTSAPCODE115
8A | A8 | 18LPDI-ODU | 13222004000054 H18WBpB8-R5F104JFA-D-ASM135 L | 11222031001082 H18WBPB8 (B08) ASM135 | TESTSAPCODE116
9A | A9 | 24LPDI-IDU |  | 13222009004801 | TESTSAPCODE117
10A | A10 | 24LPDI-ODU V2 | 13222004000034 H22WBpC1-UPD76F-PSS30-3-ATL232 | 11222031000595 H22WBPC1 (B07) ATL232 | TESTSAPCODE118
11A | A11 | 24LPDI-ODU V1 | 13222004000044 H24WBpB7 ATL232UDPC9AQ | 11220310000424 H24BPB7 (B8) ATL232UDP | TESTSAPCODE119
12A | A12 | 09YDI-IDU | 11222003003184 W(R09Y*4*4) *QDBPI EE 3x1,5 L1,5m | 11222009003786 R09Y*BP*4*QDI W (C03) | TESTSAPCODE120
12B | A12 | 09YDI-IDU 060523 | 11103210000149 | 11222009003786 | TESTSAPCODE121
13A | A13 | 09YDI-ODU | 13222004000023 H09WBpC1-1242-1-98D32 Y Zhongya no electrical rack parts | 11222031000625 R26WBP2 (B08) ASN98D32 | TESTSAPCODE122
13B | A13 | 09YDI-ODU 060523 | 13104025000145 | 11222031000625 | TESTSAPCODE123
14A | A14 | 12YDI-IDU | 11222003003185 W(R12Y*4*4) *QDBPI EE 3x1,5 L1,5m | 11222009003787 R12Y*BP*4*QDI W (C03) | TESTSAPCODE124
15A | A15 | 12YDI-ODU | 13222004000422 H12WBpC1 108D32 | 11222031000626 R35WBP2 (B64) ASN108D32 | TESTSAPCODE125 | avalon
15B | A15 | 12YDI-ODU 060523 | 13104035000255 |  | TESTSAPCODE126 | avalon
16A | A16 | 12CYCDI-IDU | 11222003003394 W(R12Y*4*1100) *DI EE 3x1,5 L1,5m | 11222009003898 R12Y*BP*4*DI* W (C01) | TESTSAPCODE127
16B | A16 | 12CYC-IDU 060523 | 11103210000458 | 11222009003898 | TESTSAPCODE128
17A | A17 | 12CYCDI-ODU | 13222004000422 H12WBpC1 108D32 | 11222031000626 R35WBP2 (B64) ASN108D32 | TESTSAPCODE129
17B | A17 | 12CYC-ODU 060523 | 13104035000462 |  | TESTSAPCODE130
18A | A18 | 12AYADI-IDU | 11222003003594 W(R35Y*4*1100/1100*4) DBP EE 3x1,5 L1,5m | 11222009004000 R12Y*BP*4*QDI W (C65) | TESTSAPCODE131
18B | A18 | 12AYA-IDU 060523 | 11103210000483 | 11222009004000 | TESTSAPCODE132
19A | A19 | 12AYADI-ODU | 13222004000233 H12WBpC1-R5F104-D-ASN108D32 | 11222031000733 H12WBPC1 (B08) ASN108D32 | TESTSAPCODE133
20A | A20 | 09HA |  | 13222009005574 | TESTSAPCODE134
20B | A20 | 09HA(IDU) 060523 | 11103240001104 |  | TESTSAPCODE135
21A | A21 | 12HA |  | 13222009005574 | TESTSAPCODE136
21B | A21 | 12HA(IDU) 060523 | 11103240001036 | 11222009003734 | TESTSAPCODE137
22A | A22 | 18HA | 13222002004689 W(R52F*4*108/103*5) *Q EE 3x1,5 L1,5m | 13222009005600 H52F*4*NQ N (C01) | TESTSAPCODE138
22B | A22 | 18HA(IDU) 060523 | 11103240001020 | 11222009004109 | TESTSAPCODE139
23A | A23 | 12HEDI-IDU | 13222002003075 W(R12H*4*1080/1080*4) EE 3x1,0 L1,5m | 13222009005093 R12H*BP*4 W (C01) | TESTSAPCODE140
23B | A23 | 12HEDI-IDU 060523 | 11103210000401 | 11222009004012 | TESTSAPCODE141
24A | A24 | 12HEDI-ODU | 13222004000233 H12WBpC1-R5F104-D-ASN108D32 | 11222031000733 H12WBPC1 (B08) ASN108D32 | TESTSAPCODE142
24B | A24 | 12HEDI-ODU 060523 | 13104035000476 | 11222031000733 | TESTSAPCODE143
25A | A25 | 09JE | 13222002003581 W(R09JA*4*1130/980*5) Q EE 3x1,0 L1,5m | 13222009004330 R07FA*4*NQ* W (C03) | TESTSAPCODE144
25B | A25 | 09JE(IDU) 060523 | 11103240001170 | 11222009003734 | TESTSAPCODE145
26A | A26 | 12JE | 13222002001323 W(R09JA*4*1180/1080*5) Q EE 3x1,0 L1,5m | 13222009004330 R07FA*4*NQ* W (C03) | TESTSAPCODE146
26B | A26 | 12JE(IDU) 060523 | 11103240000953 | 11222009003734 | TESTSAPCODE147
27A | A27 | 18JE | 13222002003582 W(R18JA*4*1130/1030*5) *Q EE 3x2,5 L1,5m | 13222009004303 R18FA*4*NQ W (C01) | TESTSAPCODE148
27B | A27 | 18JE(IDU) 060523 | 11103240000924 | 11222009003736 | TESTSAPCODE149
28A | A28 | 24JE |  | 13222009005601 | TESTSAPCODE150
28B | A28 | 24JE-IDU 060523 | 11103240000939 | 11222009003968 | TESTSAPCODE151
29A | A29 | 12JEDI-IDU | 13222002002368 W(R12JA*4*1180/1130) *QBP 3x1,0 L1,5m | 13222009004780 R12JA*BP*4*Q W (C03) | TESTSAPCODE152
30A | A30 | 12JEDI-ODU | 13222004000143 H12WBpC0-R5F104-1-ASN108D22 L | 11222031000861 H12WBPC0 (B08) ASN108D22 | TESTSAPCODE153
30B | A30 | 12JEDI-ODU 060523 | 13104034000753 | 11222031000861 | TESTSAPCODE154
31A | A31 | 18JEDI-IDU | 13222002005097 W(R18JA*4*4) *NQBP EE 220910 | 13222009005806 R18FA*BP*4*NQ W (C02) 220910 | TESTSAPCODE155
31B | A31 | 18JEDI-IDU |  | 13222009005400 | TESTSAPCODE156
31C | A31 | 18JEDI-IDU 060523 | 11103210000341 | 11222009003795 | TESTSAPCODE157
32A | A32 | 18JEDI-ODU |  | 11222031001075 | TESTSAPCODE158
32B | A32 | 18JEDI-ODU 060523 | 13104051000356 | 11222031001082 | TESTSAPCODE159
33A | A33 | 24JEDI-IDU |  | 13222009005395 | TESTSAPCODE160
33B | A33 | 24JEDI-IDU 060523 | 11103210000547 | 11222009003968 | TESTSAPCODE161
34A | A34 | 24JEDI-ODU | 13222004000034 H22WBpC1-UPD76F-PSS30-3-ATL232 | 11222031000595 H22WBPC1 (B07) ATL232 | TESTSAPCODE162
34B | A34 | 24JEDI-ODU 060523 | 13104032000427 | 11222031000595 | TESTSAPCODE163
35A | A35 | 12JEDI-IDU vertical | 13222002004843 W(R12J4*1180/1230*4) QBP EE 230212 | 13222009005605 12J*BP*4 W (NJ05) | TESTSAPCODE164
36A | A36 | 12JEDI-ODU vertical | 13222004000451 H09WBpC3 KSN98D25 230211 | 11222031001454 H09WBPC3 KSN98D25 230212 | TESTSAPCODE165